Jacumba Community Service District General Board Meeting Minutes 10/25/2022

 Jacumba Library @ 5:00 pm

**Called to Order 4:59pm** JCSD Board Meeting Called to order by Felix Bachmeier, **Roll Call**, Lonna Marshall, & Robert Ridge. Absent John Hogue

**Consent Agenda**

**3.1** Minutes from last meeting were approved: Motion by John Hogue, 2nd Lonna Marshall, Vote unanimous 4 yays 0 nays -Motion passed

**Financial Report**

The financial report was approved and filed for audit.

(Financial report is included in JCSD Board packets)

**Staff Reports**

**General Manager –**

**Public Water System #3710011**

Greetings JCSD Board Members. Hope all is well. Water quality this month were good (samples taken on back of sheet) the district sold construction water at the HLC and park wells this month. The district had its sanitary survey inspection completed this month by our system engineer. Survey Report will be issued in the next couple months.

**Task Completed**

* Fire Pump repair
* Sanitary Survey (Facility inspections, Record Keeping inspection)

Look Ahead

* Booster Pump Upgrades
* Sanitary Survey

**Water Production September 27th – October 25th 2022**

* Filter Plant- 1.4741 MG filtered/ 52,646 Daily Avg /Gallons
* Well 7- 1.441 MG Pumped

Static Level -49.2 ft

* Well 8-11,000 Gallons Pumped

Static level 48.8 ft

* Well 4-2,400 Gallons Flushed

Static Level 13.7 ft.

 **Construction Water**

* Well 6- No Production

Static Level 11.95 ft

* HLC 22,100 Gallons Pumped

Static Level 57.45 ft down

* Park well- 7,200 Gallons Pumped

Static Level- 59.85 ft down

**Water Quality Monitoring**

**Bacteriological Date Sampled Result Sample Type**

**Site 1- Old Hwy 80 10/17/2022 Absent Distribution**

**Site 2- Heber St. 10/17/2022 Absent Distribution**

**Site 3-Tank 10/17/2022 Absent Distribution**

**Well #7 10/17/2022 No Detection Source (RAW)**

**Well #8 10/17/2022 No Detection Source (RAW)**

**Distribution System**

**Chlorine Residual** (Distribution) 100 Samples 0.98 Min / 1.75mg/l Max / 1.44 Avg mg/L

**Well Heads (7 & 8)**

Iron and Manganese

**Filter Vessel**

Iron and Manganese

**Secretary- Reported** – Jacumba Community

**Committee Reports**

 **Park Committee-**

**Art Counsel**-

**Board Communications** –/ Meeting is open to public for questions & comments*- (that are within JCSD jurisdiction)*

**Board Business & Project Update (***discussion only**)*

**Agenda Motions:**

**8. 1 Discuss an Update to Jacumba’s Park and Recreation Priority “wish list”.**

**Motion, \_\_Felix Bachmeier\_, 2nd, \_Robert\_\_, Vote, \_\_\_Unanimous 3 yays 0 nays\_\_**

**8. 2 Develop a landscaping plan for the JCSD Water Treatment Plant along Old Highway 80. (At the Oct. 10, 2022 JCSG meeting, the Sponsor Group voted to request that the Water District plants Honeysuckle vines or another drought-tolerant plant adjacent to the perimeter fencing to soften the facility's industrial appearance in the winter or early spring timeframe. Brenda was in attendance at that meeting.)**

**Motion to table \_Robert Ridge 2nd, \_Felix Bachmeier\_\_, Vote, \_Unanimous 3 yays 0 nays\_\_\_\_**

**Adjournment: time 5:50 pm** perpared by B.Hernandez